## Slide 1: Chemistry 1105
Gravimetric Analysis of a
Soluble Carbonate
Go to browse and set to full screen.

## Slide 2
Vial containing the unknown
Two 400 mL beakers and two stir rods.
60 mL of 0.55 M CaCl2

## Slide 3
Crucible tongs
Beaker tongs
Desicooler
Crucibles

## Slide 4
Drying agent

## Slide 5
Obtain two crucibles from the oven, put the lid on and let them cool on the bench top for 20 min. Then weigh them accurately on the analytical balance.

## Slide 6
Use crucible tongs to transfer crucible to analytical balance.
Record the mass in your notebook.

## Slide 7
Accurately determine the mass of the vial, contents and lid. Record this mass and unknown #.

## Slide 8
Tap out about half of the unknown into one of the 400 mL beakers. (Label this beaker)

## Slide 9
Reweigh accurately the vial with the lid and record this mass.

## Slide 10
Tap the remaining unknown into the other 400 mL beaker (label it).
Reweigh accurately the vial.

## Slide 11
Pour about 20 mL of distilled water into each of the 400 mL beakers. Swirl (gently) to dissolve the unknown sample, and warm the beakers a little if you’re having trouble dissolving the sample.

## Slide 12
Once the unknown samples have dissolved, add about 80 mL more distilled water to each beaker and cover each beaker with a watch glass and warm them to steaming.
Steaming

## Slide 13
Once solutions have started steaming, reduce the heat to medium- low and add 30 mL of 0.55 M CaCl2 to each solution.

## Slide 14
Stir each solution with its own stir rod for a few seconds, then leave the stir rod in the solutions and allow them to heat for another 30 min.

## Slide 15
When about 30 minutes is up and the precipitated has settled, add one or two drops of CaCl2 to the supernatant liquid. If no additional precipitate forms take the beakers and put them in an ice water bath to cool.

## Slide 16
Ice water bath.

## Slide 17
Aspirator
Suction cone
Utility clamp
Vacuum filter flask
Stand
Black vacuum (rubber) tubing
Crucible

## Slide 18
Filter the solution through one of the pre-weighed crucibles.

## Slide 19
Rinse and filter the precipitate in the beaker several times with a small quantity of cold distilled water.

## Slide 20
Place the crucibles in the desicooler.

## Slide 21
And in the oven overnight to dry.

## Slide 22
The next day come and weigh the crucibles. Record their masses.