## Slide 1: Quantitative determination of nickel in a compound
Go to browse and set to full screen.

## Slide 2
Desicooler
Crucibles
Crucible tongs
Beaker tongs
Part 1

## Slide 3
Drying agent

## Slide 4
Obtain two crucibles from the oven, put the lid on and let them cool on the bench top for 20 min. Then weigh them accurately on the analytical balance.

## Slide 5
Use crucible tongs to transfer crucible to analytical balance.
Record the mass in your notebook.

## Slide 6
Homogeneous precipitation
To a clean 400 mL beaker add about 200 mL of distilled water and 5 drops of 6 M HCl.
Part 2

## Slide 7
Add 15.00 mL of your unknown solution to the solution in 400 mL beaker.
Waste beaker
Record the unknown number in your notebook.
15.00 mL pipet

## Slide 8
Place this dilute acidic nickel solution on a hot plate in the fume hood.
Set the hot plate on medium heat.
Steaming nickel solution.

## Slide 9
Add about 20 g of urea.
Weigh on the triple beam balance.

## Slide 10
Add 20 mL of 1% DMG solution to the hot nickel solution.

## Slide 11
Cover the beaker with watch glass and let the solution heat for one hour.
After one hour the solution should be colorless with a red precipitate dispersed in it.

## Slide 12
Pipet 15.00 mL of your unknown Ni solution into a clean 600 mL beaker.
Heterogeneous precipitation
Part 3

## Slide 13
Add 350 mL distilled water,
2.50 g of NH4Cl.
And then add 2.5 mL of concentrated ammonia.

## Slide 14
lift plunger carefully
press down slowly

## Slide 15
Homogeneous solution
from part 2
Heterogeneous solution
Place the beaker on the hot plate.
Add about 20 mL of the 1% DMG reagent to the solution.

## Slide 16
After adding 20 ml of 1% DMG (heterogeneous solution) stir well for 20 minutes or until the precipitate settles.
Let it cool for 5 minutes.
Then place it in an ice-water bath for 10 min.

## Slide 17
black vacuum (rubber) tubing
vacuum filter flask
rubber cone
utility clamp
stand
crucible
aspirator

## Slide 18
Filter the solution through one of the pre-weighed crucible.

## Slide 19
Rinse beaker several times with the small quantity of cold distilled water.

## Slide 20
After one hour add 5 drops of 6 M ammonia solution and swirl. Remove the solution from the heat. Let it cool for 5 minutes, then place it in ice-water bath for 10 minutes and repeat the filtration through one of the pre-weighed crucible.
Back to part 2 – homogeneous precipitation.

## Slide 21
Homogeneous precipitate
Heterogeneous precipitate
Place them in the oven and dry to constant mass.

## Slide 22
Do final weighing to obtain the mass of precipitate.